## data
F1 |  |  | F2 | [14 empty] | F3 |  |  |  |  | F5 | [38 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
148 | U-12 | TS | 36.161 | 96.2841 | 8.16.2021 | 8:55 | 8.17.2021 | 16:07 | 2 | [8 empty] | 8.16.2021 | 9:23 | 28.18 | 1 | 1 | 3.1 | 0.1 | 28.5 | 5.1 | 1104 | 7.6 | 7 | 5.1 |  | 1 | [5 empty] | DO probe removed, dried, and reinstalled, DO may be off |  |  |  |  | 2.5 | 28.4 | 4.61 | 1103 | 7.46 | 7 | 5.1 | [15 empty] | 2.0518 | 400.32 | 8.16.2021 | 8:15
148 | U-01 | TS | 36.1138 | 96.3392 | 8.16.2021 | 9:55 | 8.17.2021 | 16:55 | 50 |  | SG210098 |  | SG210099 |  |  |  |  | 8.16.2021 | 10:01 | 28.61 | 1 | 1 | 9 | 0.1 | 29.2 | 10.2 | 1438 | 8.1 | 10.3 | 6.7 | [12 empty] | 8 | 28.1 | 2.77 | 1438 | 7.21 | 10.3 | 17.27 | [15 empty] | 2.0528 | 394.5 | 8.16.2021 | 19:30
148 | U-05 | TS | 36.0907 | 96.3346 | 8.16.2021 | 10:16 | 8.17.2021 | 17:22 | 4 | [8 empty] | 8.16.2021 | 10:20 | 28.1 | 1 | 1 | 3.2 | 0.1 | 28.3 | 5.86 | 1367 | 7.54 | 10.3 | 16.8 | [12 empty] | 2.5 | 28 | 4.5 | 1378 | 7.38 | 10.3 | 21.69 | [15 empty] | 2.0528 | 394.5 | 8.16.2021 | 20:40
148 | U-09 | TS | 36.17 | 96.3276 | 8.16.2021 | 10:42 | 8.17.2021 | 17:52 | 4 | [8 empty] | 8.16.2021 | 11:43 | 31.1 | 1 | 1 | 2.3 | 0.1 | 29.3 | 9.56 | 1105 | 8.17 | 29.2 | 7 | [12 empty] | 1.5 | 29.3 | 9.53 | 1103 | 8.18 | 25.2 | 6.2
148 | U-13 | TS | 36.168 | 96.3244 | 8.16.2021 | 12:29 | 8.17.2021 | 18:05 | 570 |  | SG210100 |  | SG210101 |  | SG210102 |  |  | 8.16.2021 | 12:30 | 30.9 | 1 | 1 | 12.2 | 0.1 | 29.1 | 8.64 | 1116 | 8.07 | 25.6 | 6 | [12 empty] | 11 | 28.9 | 2.43 | 2172 | 7.32 | 6.1 | 25 |  |  | 1 | [5 empty] | Value seems too high
148 | U-10 | TS | 36.1918 | 96.3464 | 8.16.2021 | 12:51 | 8.17.2021 | 18:35 | 545 |  | SG210103 |  | SG210104 |  | SG210105 |  |  | 8.16.2021 | 12:52 | 31.4 | 1 | 1 | 6.3 | 0.1 | 29.4 | 7.04 | 1953 | 7.88 | 16.5 | 10.8 | [12 empty] | 5 | 29.5 | 6.37 | 2322 | 7.72 | 20.1 | 27 |  |  | 1 | [5 empty] | Value seems too high
148 | U-04 | TS | 36.1846 | 96.2771 | 8.16.2021 | 13:24 | 8.17.2021 | 16:20 | 1 | [8 empty] | 8.16.2021 | 13:25 | 32.2 | 1 | 1 | 4.3 | 0.1 | 30.3 | 7.7 | 1130 | 8 | 7.9 | 5.9 | [12 empty] | 3.2 | 28.9 | 5.24 | 1124 | 7.66 | 10.1 | 7.5
148 | U-08 | TS | 36.1801 | 96.2561 | 8.16.2021 | 13:50 | 8.17.2021 | 12:17 | 80 |  | SG210095 |  | SG210096 |  | SG210097 |  |  | 8.16.2021 | 13:51 | 30.5 | 1 | 1 | 6.1 | 0.1 | 28.8 |  | 901 | 7.5 | 2.1 | [13 empty] | 4.9 | 28.7 |  | 899 | 7.46 | 7.5 | 5.1
148 | U-03 | TS | 36.1893 | 96.2438 | 8.16.2021 | 14:04 | 8.17.2021 | 13:36 | 0 | [8 empty] | 8.16.2021 | 14:05 | 31.4 | 1 | 1 | 3.1 | 0.1 | 29.1 | 4.9 | 880 | 8.1 | 6.4 | 8.11 | [12 empty] | 2.2 | 28.27 | 4.48 | 880 | 8.09 | 7.8 | 8.89
148 | U-07 | TS | 36.2101 | 96.2457 | 8.16.2021 | 14:18 | 8.17.2021 | 8:15 | 170 |  | SG210082 |  | SG210083 |  | SG210084 |  |  | 8.16.2021 | 14:19 | 30.5 | 1 | 1 | 13.2 | 0.1 | 28.3 | 2.3 | 902 | 7.6 | 7.6 | 1733.1 | [5 empty] | 1 |  | DO read on HL4 ser# 15033H400226/EPA B09860 otherwise all YSI 66 |  |  |  | Value seems too high | 12.7 | 28.1 | 0.58 | 1175 | 7.29 | 7.6 | 1729.8 | [5 empty] | 1 | [5 empty] | Value seems too high | SG210073 | SG210074 | SG210075
148 | U-15 | TS | 36.2137 | 96.2514 | 8.16.2021 | 14:31 | 8.17.2021 | 13:15 | 25 |  | SG210094 | [6 empty] | 8.16.2021 | 14:31 | 29.5 | 1 | 1 | 9.1 | 0.1 | 29.2 | 3.8 | 880 | 8 | 2.6 | 7.71 | [12 empty] | 8.1 | 28.8 | 2.39 | 880 | 7.88 | 8.1 | 8.71
148 | U-11 | TS | 36.2284 | 96.2978 | 8.16.2021 | 14:49 | 8.17.2021 | 12:46 | 255 |  | SG210091 |  | SG210092 |  | SG210093 |  |  | 8.16.2021 | 14:49 | 30.6 | 1 | 1 | 9.8 | 0.1 | 29.4 | 3.07 | 860 | 8 | 9.3 | 14.46 | [12 empty] | 8.2 | 28.9 | 2.57 | 860 | 7.95 | 9.3 | 15.25
148 | U-02 | TS | 36.2285 | 96.3217 | 8.16.2021 | 15:05 | 8.17.2021 | 12:25 | 110 |  | SG210088 |  | SG210089 |  | SG210090 |  |  | 8.16.2021 | 15:09 | 32.2 | 1 | 1 | 7.3 | 0.1 | 29.8 | 4.3 | 880 | 7.71 | 3.8 | 15.04 | [12 empty] | 6 | 29.2 | 3.16 | 870 | 7.48 | 3.8 | 11.09
148 | U-06 | TS | 36.2356 | 96.3479 | 8.16.2021 | 15:28 | 8.17.2021 | 12:02 | 535 |  | SG210085 |  | SG210086 |  | SG210087 |  |  | 8.16.2021 | 15:29 | 31.3 | 1 | 1 | 5.6 | 0.1 | 29.3 | 4.5 | 869 | 7.81 | 3.8 | 23.6 | [12 empty] | 3.9 | 29.33 | 4.36 | 869 | 7.8 | 3.8 | 25.8
148 | U-14 | TS | 36.3512 | 96.3723 | 8.16.2021 | 15:42 | 8.17.2021 | 11:15 | NA | [7 empty] | tube fell off | 8.16.2021 | 15:43 | 31.6 | 1 | 1 | 2.1 | 0.1 | 29.1 | 4.63 | 1743.5 | 7.82 | 7.6 | 1743.6 | [5 empty] | 1 | [5 empty] | Value seems too high | 1.6 | 29.04 | 4.52 | 891 | 7.81 | 27.3 | 108.6 | [5 empty] | 1 | [5 empty] | Value seems too high

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
148 | U-07 | 0.1 | SG210076 | 30.6 |  | 115 | 25 | 742.1 | 31
148 | U-07 | 0.1 | SG210077 | 30.5 |  | 115 | 25 | 742.1 | 31
148 | U-07 | 0.1 | SG210078 | 30.5 |  | 115 | 25 | 742.1 | 31
148 | U-07 | 12.5 | SG210079 | 30.3 |  | 115 | 25 | 742.1 | 31
148 | U-07 | 12.5 | SG210080 | 30.3 |  | 115 | 25 | 742.1 | 31
148 | U-07 | 12.5 | SG210081 | 30.3 |  | 115 | 25 | 742.1 | 31

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)
air.temperature | air temperature | numeric (celcius)