## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
308 | SU-01 | TS | 47.9189 | -120.1661 | 08.01.2018 | 12:25 | 08.02.2018 | 11:04 | 0 | [9 empty] | 08.02.2018 | 11:08 | 24.7 | 50 | 50 |  |  | 19 | 0.1 | 25 | 8.6 | 518 | 8.72 | 0.42 |  | 1.2 | [14 empty] | 18 | 7.1 | 0.8 | 539 | 7.52 | 1.06 |  | 1.6 | [14 empty] | 18R100157 | 18R100158
308 | SU-02 | TS | 47.9213 | -120.1706 | 08.01.2018 | 12:57 | 08.02.2018 | 10:30 | 1 | [9 empty] | 08.02.2018 | 10:30 | 24.2 | 20 | 20 |  |  | 13.7 | 0.1 | 24.9 | 8.8 | 519 | 8.72 | 0.54 |  | 1.3 | [14 empty] | 12.7 | 9 | 1.4 | 537 | 7.69 | 1.83 |  | 2
308 | SU-03 | TS | 47.9195 | -120.163 | 08.01.2018 | 11:45 | 08.02.2018 | 11:25 | 0 | [9 empty] | 08.02.2018 | 11:28 | 24.4 | 50 | 50 |  |  | 11.7 | 0.1 | 24.8 | 8.5 | 518 | 8.74 | 0.38 |  | 1.2 | [14 empty] | 10.7 | 14.9 | 2.5 | 529 | 7.97 | 1.95 |  | 3
308 | SU-04 | TS | 47.916 | -120.1579 | 08.01.2018 | 10:54 | 08.02.2018 | 12:53 | 0 | [9 empty] | 08.02.2018 | 12:53 | 25.1 | 50 | 50 |  |  | 18 | 0.1 | 24.8 | 8.5 | 519 | 8.7 | 0.5 |  | 1.4 | [14 empty] | 17 | 7.1 | 0.4 | 539 | 7.55 | 1.12 |  | 1.8
308 | SU-05 | TS | 47.9185 | -120.1651 | 08.01.2018 | 11:34 | 08.02.2018 | 11:37 | 0 | [9 empty] | 08.02.2018 | 11:38 | 24.7 | 50 | 50 |  |  | 18.2 | 0.1 | 24.7 | 8.6 | 518 | 8.75 | 0.5 |  | 1.3 | [14 empty] | 17.2 | 6.6 | 0.7 | 548 | 7.49 | 1.05 |  | 1.2
308 | SU-06 | TS | 47.9176 | -120.163 | 08.01.2018 | 12:32 | 08.02.2018 | 11:46 | 33 | [8 empty] | no sample operator error | 08.02.2018 | 11:56 | 24.9 | 50 | 50 |  |  | 3.3 | 0.1 | 25.5 | 8.7 | 519 | 8.75 | 0.5 |  | 1.4 | [14 empty] | 2.3 | 24.3 | 9.1 | 516 | 8.73 | 0.83 |  | 1.3
308 | SU-07 | TS | 47.917 | -120.1631 | 08.01.2018 | 11:13 | 08.02.2018 | 12:26 | 0 | [9 empty] | 08.02.2018 | 12:27 | 24.7 | 50 | 50 |  |  | 18.8 | 0.1 | 24.7 | 8.6 | 518 | 8.76 | 0.4 |  | 1.1 | [14 empty] | 17.8 | 6.9 | 0.3 | 541 | 7.53 | 1.21 |  | 1.6
308 | SU-08 | TS | 47.9175 | -120.1628 | 08.01.2018 | 11:24 | 08.02.2018 | 12:32 | 0 | [9 empty] | 08.02.2018 | 12:41 | 25 | 50 | 50 |  |  | 18.9 | 0.1 | 24.7 | 8.6 | 518 | 8.75 | 0.45 |  | 1.1 | [14 empty] | 17.9 | 6.9 | 0.7 | 542 | 7.55 | 1 |  | 2
308 | SU-09 | TS | 47.9207 | -120.1642 | 08.01.2018 | 12:13 | 08.02.2018 | 10:52 | 0 | [9 empty] | 08.02.2018 | 10:54 | 24.3 | 20 | 20 |  |  | 8.7 | 0.1 | 25.3 | 8.6 | 517 | 8.69 | 0.49 |  | 1.2 | [14 empty] | 7.7 | 19.9 | 7.9 | 516 | 8.56 | 1.7 |  | 2.3
308 | SU-10 | TS | 47.9217 | -120.1666 | 08.01.2018 | 12:46 | 08.02.2018 | 10:40 | 0 | [9 empty] | 08.02.2018 | 10:41 | 24.4 | 20 | 20 |  |  | 18 | 0.1 | 25.4 | 8.6 | 519 | 8.7 | 0.33 |  | 1.4 | [14 empty] | 17 | 7.4 | 0.8 | 536 | 7.58 | 1.29 |  | 1.5
308 | SU-11 | TS | 47.9161 | -120.164 | 08.01.2018 | 11:06 | 08.02.2018 | 12:07 | 0 | [9 empty] | 08.02.2018 | 12:07 | 24.9 | 50 | 50 |  |  | 18.6 | 0.1 | 24.5 | 8.6 | 518 | 8.72 | 0.5 |  | 1.3 | [14 empty] | 17.6 | 6.9 | 0.8 | 540 | 7.52 | 1.11 |  | 1.9
308 | SU-32 | TS | 47.9147 | -120.1552 | 08.01.2018 | 10:43 | 08.02.2018 | 13:02 | 0 | [9 empty] | 08.02.2018 | 13:04 | 25.4 | 50 | 50 |  |  | 10.8 | 0.1 | 24.6 | 8.6 | 518 | 8.72 | 0.49 |  | 1.2 | [14 empty] | 4.2 | 24.2 | 8.7 | 517 | 8.71 | 1.1 |  | 0.9
308 | SU-33 | TS | 47.9146 | -120.1556 | 08.01.2018 | 10:36 | 08.02.2018 | 13:12 | 0 | [9 empty] | 08.02.2018 | 13:12 | 25.4 | 50 | 50 |  |  | 5.2 | 0.1 | 24.7 | 8.5 | 518 | 8.72 | 0.37 |  | 1.4 | [14 empty] | 9.8 | 18 | 5 | 515 | 8.32 | 1.92 |  | 3.7
308 | SU-34 | TS | 47.914 | -120.1562 | 08.01.2018 | 10:25 | 08.02.2018 | 13:23 | 0 | [9 empty] | 08.02.2018 | 13:21 | 25.2 | 50 | 50 |  |  | 10.3 | 0.1 | 24.6 | 8.5 | 518 | 8.66 | 0.43 |  | 2.2 | [14 empty] | 9.3 | 20.2 | 7.8 | 516 | 8.54 | 1.65 |  | 2.7
308 | SU-35 | TS | 47.913 | -120.1556 | 08.01.2018 | 10:10 | 08.02.2018 | 13:33 | 131 |  | 18R100199 |  | 18R100151 |  | 18R100154 |  |  |  | 08.02.2018 | 13:34 | 25.5 | 50 | 50 |  | could only get 3-4 minutes without bubbles | 3.8 | 0.1 | 24.7 | 7.8 | 519 | 8.52 | 0.51 |  | 0.9 | [6 empty] | 1 | [6 empty] | turbidity meter reporting unstable reading | 2.8 | 24.4 | 8.8 | 515 | 8.61 | 1.13 |  | 0.7 | [6 empty] | 1 | [6 empty] | turbidity meter reporting unstable reading | 18R100161 | 18R100163

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
308 | SU-35 | 0.1 | 18R100152 | 29 |  | 115 | 25 | 726.19 | 29.4
308 | SU-35 | 0.1 | 18R100153 | 28 |  | 115 | 25 | 726.19 | 29.4
308 | SU-01 | 0.1 | 18R100156 | 27 |  | 115 | 25 | 726.95 | 29.4
308 | SU-01 | 0.1 | 18R100155 | 27.5 |  | 115 | 25 | 726.95 | 29.4

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)